## Cover
CASA 100 — BOQ worksheet (internal)
Government of Belize · 100 homes · mix 30 / 45 / 25 · USD · Full village unfurnished, no extra civil
Do not circulate until numbers are signed off. Working draft, not a contract.
Headline
Item | USD
Full village all-in (no extra civil) | 7616796.72
Works | 6684919.01
Contingency 8% | 534793.52
PM 5.5% | 397084.19
11.01 assembly this mix | 192080
11.01 average / home | 1920.8
4 Chinese workers at 20 homes (factory sheet, incl. travel) | 2616
4 Chinese workers at 100 homes (factory sheet, incl. travel) | 875.2
On-site only: 4 × 2 days × $220 | 1760
11.01 2-bed / 3-bed | 2240
IMPORTANT
11.01 and the 4-worker China sheet are the SAME pad assembly. Do not add them. 11.01 stays in the all-in ($280/day Greython/Maatern method). The China sheet is factory-net $220/day plus a one-time $43,520 travel lump. At 20 homes that averages $2,616/home — same band as 11.01 $2,240 on a 2-bed.

## 11.01 vs China crew
Pad assembly — BOQ 11.01 vs factory-net 4 Chinese workers
Factory arithmetic: travel $43,520 + (homes ÷ 2) × 4 × $220. Net, no KDK commission. 4 workers, 2 days per home.
BOQ 11.01 (priced in the all-in)
Style | Qty | Hours | Days | $280/day amount / home | Campaign 11.01
Compact Terrace | 30 | 42 | 4.2 | 1176 | 35280
Hip Cottage | 45 | 80 | 8 | 2240 | 100800
Family Gable | 25 | 80 | 8 | 2240 | 56000
Campaign total | 100 |  |  |  | 192080
Average / home |  |  |  |  | 1920.8
Factory-net 4 Chinese workers (NOT added to 11.01)
Homes | Travel (4 workers) | On-site labour | Factory-net total | Per home | vs 11.01 avg
10 | 43520 | 4400 | 47920 | 4792 | 2871.2
20 | 43520 | 8800 | 52320 | 2616 | 695.2
50 | 43520 | 22000 | 65520 | 1310.4 | -610.4
100 | 43520 | 44000 | 87520 | 875.2 | -1045.6
This mix (100) | 43520 | 44000 | 87520 | 875.2 | -1045.6
On-site only (no travel): 4 workers × 2 days × $220 |  |  |  | 1760
Greython / Maatern day rate used in 11.01 |  |  |  | 280
Factory-net day rate |  |  |  | 220
First two homes — 2 Chinese + 2 Belizean helpers (7–10 days)
Chinese side (user figure) / home |  |  |  | 11000
Chinese travel (2 workers × $10,000) |  |  |  | 20000
Chinese site 7–10 days (range) |  |  |  | 23080 | 24400
After training — recommended CASA 100 ramp (first 2 trainer pads, then Belizean-majority)
First two homes (Chinese, user figure) |  |  |  | 22000
Belizean helpers on first two (est.) |  |  |  | 1292
Remaining 98 homes at mixed pad rate |  |  |  | 86051.84
Ramp total |  |  |  | 109343.84
Ramp / home |  |  |  | 1093.4384
11.01 this mix (kept in the all-in) |  |  |  | 192080

## BOQ lines
Line-by-line BOQ — Full village unfurnished, no extra civil (30/45/25)
Item | Division | Description | Unit | Status | In price? | Rate 1-bed | Rate 2-bed | Rate 3-bed | Amt 1-bed ×30 | Amt 2-bed ×45 | Amt 3-bed ×25 | Project (in price) | Full amount (if on) | Note
01 | Container homes
01.01 | Container homes | Basic shell module — list price, unfurnished (FOB China port) | home | QUOTED | YES | 15850 | 23100 | 23500 | 475500 | 1039500 | 587500 | 2102500 | 2102500 | Basic SHELL: steel frames, walls, insulated roof, doors, windows, house lights/sockets/DB, kitchen cabinet + sink + faucet, ceramic toilet, wash-basin, glass shower, bathroom pipework. Unfurnished. FOB China — no ocean, no inland. NOT in the shell: split air, solar, range, fridge, furniture, gas stove, pads, village works.
01.02 | Container homes | Belize set-aside / distributor — 10% of shell list | home | EST. | YES | -1585 | -2310 | -2350 | -47550 | -103950 | -58750 | -210250 | -210250 | On the shell list only. 10% of factory list. KDK Hong Kong path = discount to the Government. Licensed Belizean distributor path = set-aside / seller margin. Not on slabs, solar, or village works.
02 | Logistics
02.01 | Logistics | Ocean freight, China → Belize ($19,000 per 40HQ ÷ units/container) | home | QUOTED | YES | 6333.3333 | 9500 | 10439.5604 | 190000 | 427500 | 260989.011 | 878489.011 | 878489.011 | Load factors 3 / 2 / 1.82 per 40HQ. Full-container campaign — no lone-home penalty.
02.02 | Logistics | Inland delivery to site gate + duties/taxes (HS 9406.20) | home | EST. | YES | 3200 | 3200 | 3200 | 96000 | 144000 | 80000 | 320000 | 320000 | Moonlight Bay carried $5,000/home for two units. Convoy rate for 100.
03 | Foundations & anchoring
03.01 | Foundations & anchoring | Concrete slab + excavation + house MEP stub-up | home | EST. | YES | 11500 | 12500 | 13000 | 345000 | 562500 | 325000 | 1232500 | 1232500 | Moonlight Bay $20,000/home. Campaign crew, government spec slab-on-grade.
03.02 | Foundations & anchoring | Hurricane tie-downs / engineered anchoring to slab | home | EST. | YES | 1800 | 1800 | 1800 | 54000 | 81000 | 45000 | 180000 | 180000 | Belize hurricane corridor. Confirm factory wind package separately.
03.03 | Foundations & anchoring | Crane campaign — set container unit | home | EST. | YES | 800 | 800 | 800 | 24000 | 36000 | 20000 | 80000 | 80000 | Shared crawler plant hire only. Crew to assemble the module on the pad is 11.01 — supplier hours at US$28/hr. Mix 80% Belizean / 20% China tech.
04 | Split air & solar PV — no battery
04.01 | Split air & solar PV — no battery | Split-system air conditioner, installed | home | EST. | YES | 1200 | 1800 | 2400 | 36000 | 81000 | 60000 | 177000 | 177000 | 12k / 18k / 24k BTU. In house MEP — not in Homes only (FOB China). Not in the standard module fittings.
04.02 | Split air & solar PV — no battery | Rooftop solar PV modules (panels only — equipment) | home | EST. | YES | 2550 | 3400 | 4250 | 76500 | 153000 | 106250 | 335750 | 335750 | 8 / 10 / 13 × 400 W modules = 3.2 / 4.0 / 5.2 kW array. Equipment only — no install labour. Install is 11.02 at $19.40/hr EST. (70% Belizean electrician / 30% China PV tech).
04.03 | Split air & solar PV — no battery | Hybrid inverter, grid-tie — no battery (equipment) | home | EST. | YES | 1650 | 1800 | 1950 | 49500 | 81000 | 48750 | 179250 | 179250 | 3 / 4 / 5 kW hybrid inverter, grid-interactive. Equipment only — no install labour. No battery. Install is 11.02 at $19.40/hr EST.
04.04 | Split air & solar PV — no battery | PV mounting hardware — rails, clamps, bonding kit (materials only) | home | EST. | YES | 300 | 300 | 300 | 9000 | 13500 | 7500 | 30000 | 30000 | Materials only. Roof install labour is 11.02 at $19.40/hr EST. (70% Belizean / 30% China) — not in this $300.
04.05 | Split air & solar PV — no battery | Battery energy storage (LiFePO4) — NOT INCLUDED | home | EXCL. · TBD | YES | 0 | 0 | 0 | 0 | 0 | 0 | TBD | TBD | No battery storage is included with the PV arrays. Grid-tie only. Optional later upgrade — rate left blank until the Government elects storage.
05 | Electrical — village
05.01 | Electrical — village | Padmount transformers — 2 × 500 kVA, 11–13.2 kV / 400Y/230V | nr | EST. | NO — optional | 48000 | 48000 | 48000 |  |  |  | 0 | 96000 | Scaled from RTOAC Div (o) dry-type / utility transformer logic. Village, not civic 1500 kVA.
05.02 | Electrical — village | MV/LV distribution, laterals, service entrance, 100 meters | ls | EST. | NO — optional | 520000 | 520000 | 520000 |  |  |  | 0 | 520000 | RTOAC Div (o) feeders + branch, scaled to 100 dwellings.
05.03 | Electrical — village | Street lighting — LED, 80 nr along avenues | nr | EST. | NO — optional | 1200 | 1200 | 1200 |  |  |  | 0 | 96000 | 80 columns. Qty carried in projectQty via lumpQty.
05.04 | Electrical — village | House consumer unit, branch wiring allowance (beyond factory) | home | EST. | YES | 850 | 1150 | 1250 | 25500 | 51750 | 31250 | 108500 | 108500 | Factory ships a fitted board; this is site hookup and extra devices.
05.05 | Electrical — village | Civic pavilion + gatehouse electrical | ls | EST. | NO — optional | 42000 | 42000 | 42000 |  |  |  | 0 | 42000 | RTOAC-inspired builders-work electrical, civic scale.
05.06 | Electrical — village | Testing, commissioning, as-builts, coordination study | ls | EST. | NO — optional | 55000 | 55000 | 55000 |  |  |  | 0 | 55000 | RTOAC Div (o) testing & closeout, scaled.
06 | Plumbing & sanitary
06.01 | Plumbing & sanitary | Sanitaryware — toilet, shower, kitchen sink (in the module) | home | INCL. | YES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | INCL. in the basic shell — $0 extra. Toilet, shower cube, wash-basin, kitchen sink and cabinet ship in the box. Split air is 04.01. Range/fridge is 08.01.
06.02 | Plumbing & sanitary | Village potable water — elevated tank, mains to 100 lots, disinfection | ls | EST. | NO — optional | 410000 | 410000 | 410000 |  |  |  | 0 | 410000 | RTOAC plumbing distribution analog — drinking-water loop for 100 lots. Not in Homes only. WWTP (sewage) is 06.04, separate.
06.03 | Plumbing & sanitary | House water lateral + yard cistern stub | home | EST. | YES | 1150 | 1150 | 1150 | 34500 | 51750 | 28750 | 115000 | 115000 | Single connection point per pad.
06.04 | Plumbing & sanitary | WWTP — wastewater treatment plant (shared sewage plant for 100 lots) | ls | EST. | NO — optional | 380000 | 380000 | 380000 |  |  |  | 0 | 380000 | WWTP = wastewater treatment plant. One shared sewage plant instead of 100 septic tanks. Not in Homes only. Not part of Civic extras (gate/plaza/trees).
06.05 | Plumbing & sanitary | Sewer laterals — pad to collector | home | EST. | YES | 980 | 980 | 980 | 29400 | 44100 | 24500 | 98000 | 98000
07 | Interior finishes
07.01 | Interior finishes | Floor finishes — government spec (vinyl / sealed) | home | EST. | YES | 1250 | 2200 | 2200 | 37500 | 99000 | 55000 | 191500 | 191500 | RTOAC Div (f) analog at housing spec, not Porcelanosa stone.
07.02 | Interior finishes | Wall finishes / paint | home | EST. | YES | 620 | 980 | 1050 | 18600 | 44100 | 26250 | 88950 | 88950 | RTOAC paint rates, housing area.
07.03 | Interior finishes | Ceilings — factory + make-good | home | EST. | YES | 280 | 420 | 420 | 8400 | 18900 | 10500 | 37800 | 37800 | RTOAC Div (e) analog.
07.04 | Interior finishes | Internal doors — factory sets | home | INCL. | YES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | In 01.01. RTOAC Div (h) analog already in the module.
07.05 | Interior finishes | Kitchen millwork make-good (factory + local) | home | EST. | YES | 350 | 480 | 520 | 10500 | 21600 | 13000 | 45100 | 45100 | RTOAC Div (i) analog — kitchen cabinet already in the module.
07.06 | Interior finishes | Light fixtures — LED house allowance | home | EST. | YES | 650 | 1100 | 1250 | 19500 | 49500 | 31250 | 100250 | 100250 | RTOAC Div (g) analog at housing count.
08 | Appliances
08.01 | Appliances | Range / cooktop + refrigerator package | home | EST. | YES | 1400 | 1800 | 2100 | 42000 | 81000 | 52500 | 175500 | 175500 | Not in the basic shell. Gas stove is optional at the supplier and is not in this price. Washer/dryer not in base.
09 | External works & civic
09.01 | External works & civic | Site clearing, stripping, enabling (~33 acres) | ls | EST. | YES | 185000 | 185000 | 185000 |  |  |  | 185000 | 185000 | RTOAC Div (a) demolition analog — greenfield enabling.
09.02 | External works & civic | Village roads — gravel avenues, lot access, drainage swales | ls | EST. | NO — optional | 620000 | 620000 | 620000 |  |  |  | 0 | 620000 | RTOAC Div (m) external works analog. Gravel, not asphalt. Not in Homes only. Civic extras (gate/plaza) are 09.04–09.06.
09.03 | External works & civic | Lot grading and pad preparation | home | EST. | YES | 420 | 420 | 420 | 12600 | 18900 | 10500 | 42000 | 42000
09.04 | External works & civic | Perimeter fence + village gatehouse | ls | EST. | NO — optional | 140000 | 140000 | 140000 |  |  |  | 0 | 140000 | RTOAC Div (l) security analog — gatehouse, not mantrap. Civic extra. Not roads, water, power, or WWTP.
09.05 | External works & civic | Civic plaza + pavilion (community hall) | ls | EST. | NO — optional | 185000 | 185000 | 185000 |  |  |  | 0 | 185000 | Open-air single-storey pavilion at the crossroads, gravel plaza, benches, civic green. Conceptual rendering on /civic. Not a two-storey hall. Civic extra — not village utilities.
09.06 | External works & civic | Street trees, lot grassing, civic green | ls | EST. | NO — optional | 95000 | 95000 | 95000 |  |  |  | 0 | 95000
09.07 | External works & civic | Stormwater — culverts, outfall, swale lining | ls | EST. | NO — optional | 120000 | 120000 | 120000 |  |  |  | 0 | 120000
10 | FF&E — furnished upgrade
10.01 | FF&E — furnished upgrade | Furniture / FF&E package — beds, seating, dining, linens | home | EST. | NO — optional | 3500 | 5500 | 7000 | 0 | 0 | 0 | 0 | 527500 | Priced separately. Base proposal is unfurnished. Equal add to any style.
11 | Labour & duration
11.01 | Labour & duration | Module assembly on the pad (man-hours / home) | hr | QUOTED | YES | 28 | 28 | 28 | 35280 | 100800 | 56000 | 192080 | 192080 | Supplier assembly at 10-hour days, US$280/day (US$28/hr). 1-bed 42 hrs / 4.2 days (US$1,176). 2-bed and 3-bed 80 hrs / 8 days (US$2,240 each). Crew mix still 80% Belizean / 20% China tech — Belizeans are the standing workforce. Not in 03.03 plant hire.
11.02 | Labour & duration | Solar PV + inverter install — local crew (man-hours / home) | hr | TBD | YES | 19.4 | 19.4 | 19.4 | 0 | 0 | 0 | TBD | TBD | Hours TBD. Rate EST. $19.40/hr mixed: 70% Belizean electrician @ $14 + 30% China PV tech on-site @ $32. Belizean electricians run the roofs for the 12-month campaign. One Chinese tech commissions the first kits and trains. Not in 04.02–04.04 equipment.
11.03 | Labour & duration | China technician attendance (trainer) | day | TBD | YES | 0 | 0 | 0 |  |  |  | TBD | TBD | China technician as trainer/commissioner — not the standing workforce. Belizean foremen run the site after handover. Duration TBD.
11.04 | Labour & duration | Duration — module assembly on pad | day | QUOTED | YES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calendar crew-days at 10 hours/day from the supplier assembly sheet. 1-bed 4.2 days; 2-bed and 3-bed 8 days. No dollar on this line — dollars sit on 11.01.
11.05 | Labour & duration | Duration — solar install | day | TBD | YES | 0 | 0 | 0 | 0 | 0 | 0 | TBD | TBD | Calendar days for PV + inverter on the roof. Fill with 11.02 labour next week.
11.06 | Labour & duration | FF&E installation labour | home | TBD | NO — optional | 0 | 0 | 0 | 0 | 0 | 0 | TBD | TBD | Only if the furnished upgrade is taken.
12 | On-costs
12.01 |  | Contingency 8% on works in price | [9 empty] | 534793.5209
12.02 |  | Project management 5.5% | [9 empty] | 397084.1893
|  | ALL-IN UNFURNISHED — Full village, no extra civil | [9 empty] | 7616796.7211

## Shell vs add-ons
Basic SHELL (FOB China) vs Belize add-ons
IN the shell
Steel frames, insulated roof, walls, doors, windows
House lights, switches, sockets, distribution box
Kitchen cabinet + sink + faucet
Toilet, wash-basin, glass shower, bathroom pipework
NOT in the shell
Split air (04.01)
Solar PV + inverter + rails (04.02–04.04). No battery.
Range / fridge (08.01). Gas stove not included.
Furniture (Div 10)
Slab, set, assembly labour (Div 03 + 11.01)
Ocean freight / inland (off on Homes only)
Village roads, power, water, WWTP, plaza, trees, gate
Style | Qty | List / home | Net −10% / home
Compact Terrace | 30 | 15850 | 14265
Hip Cottage | 45 | 23100 | 20790
Family Gable | 25 | 23500 | 21150